## MRI_01 Telemetry
EQUIPMENT IDENTITY | [5 empty] | MRI SENSORS | [6 empty] | COMMON SENSORS | [8 empty] | ERROR LOGS | [6 empty] | DEVIATIONS | [8 empty] | TARGET LABELS | [6 empty] | COST IMPACT | [7 empty] | AUDIT TRAIL
machine_id | machine_type | machine_age_years | manufacturer | model_number | installation_date | helium_pressure_psi | helium_refill_count_30d | magnetic_field_strength_tesla | cryogen_level_percent | gradient_coil_temp_celsius | gradient_coil_performance_score | rf_coil_snr_db | ambient_temp_celsius | internal_temp_celsius | vibration_amplitude_mm_s | vibration_anomaly_flag | scan_volume_per_day | power_consumption_kwh | cooling_system_temp_celsius | uptime_hours_per_day | idle_hours_per_day | error_code | error_code_freq_7d | error_code_freq_30d | error_severity_level | error_category | warning_flag_count_24h | fault_log_entry_count_7d | temp_deviation_from_baseline | helium_pressure_deviation_pct | vibration_deviation_from_baseline | error_rate_deviation_from_baseline | scan_volume_deviation_from_baseline | gradient_performance_deviation | power_consumption_deviation | days_since_last_maintenance | days_since_last_calibration | risk_tier | risk_label | predicted_failure_within_14d | predicted_days_to_failure | confidence_score | predicted_failure_type | failure_imminent | preventive_maintenance_cost_inr | emergency_repair_cost_inr | lost_revenue_per_day_inr | estimated_downtime_days | projected_breakdown_total_cost_inr | cost_saving_if_preventive_inr | patients_impacted_count | appointments_to_reschedule | alert_timestamp | alert_acknowledged | actual_failure_occurred | actual_failure_date | action_taken
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.514 | 2 | 3.032 | 100.31 | 21.94 | 94.7 | 28.37 | 21.38 | 21.14 | 0.122 | 0 | 39 | 85.03 | 17.97 | 18.28 | 5.39 | None | 2 | 7 | 1 | thermal | 1 | 6 | -0.36 | 0.097 | 0.002 | 0 | 0 | -1.3 | 0 | 45 | 120 | 0 | Normal 🟢 | 0 | N/A | 0.4 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.509 | 2 | 2.971 | 95.97 | 23.12 | 93.16 | 28.22 | 21.46 | 21.89 | 0.121 | 0 | 38 | 86.77 | 18.61 | 18.73 | 5.33 | None | 2 | 9 | 1 | thermal | 1 | 6 | 0.39 | 0.062 | 0.001 | 0 | 0 | -2.84 | 0 | 46 | 121 | 0 | Normal 🟢 | 0 | N/A | 0.42 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.488 | 2 | 3.014 | 99.2 | 21.89 | 97.9 | 28.04 | 21.72 | 21.65 | 0.123 | 0 | 38 | 83.64 | 18.06 | 18.34 | 5.4 | None | 2 | 8 | 1 | thermal | 1 | 6 | 0.15 | -0.083 | 0.003 | 0 | 0 | 1.9 | 0 | 47 | 122 | 0 | Normal 🟢 | 0 | N/A | 0.44 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.471 | 2 | 2.941 | 99.35 | 22.05 | 98.52 | 28.29 | 22.65 | 21.69 | 0.121 | 0 | 43 | 85.29 | 18.7 | 18.75 | 5.3 | None | 2 | 7 | 1 | thermal | 1 | 6 | 0.19 | -0.2 | 0.001 | 0 | 0 | 2.52 | 0 | 48 | 123 | 0 | Normal 🟢 | 0 | N/A | 0.46 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.482 | 2 | 2.967 | 98.91 | 22.36 | 94.33 | 29.21 | 21.95 | 22.07 | 0.123 | 0 | 40 | 83.71 | 18.57 | 18.32 | 5.44 | None | 2 | 7 | 1 | thermal | 1 | 6 | 0.57 | -0.124 | 0.003 | 0 | 0 | -1.67 | 0 | 49 | 124 | 0 | Normal 🟢 | 0 | N/A | 0.48 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.472 | 2 | 2.93 | 98.75 | 22.89 | 96.06 | 28.37 | 21.42 | 20.97 | 0.117 | 0 | 41 | 87.53 | 18.53 | 18.85 | 5.23 | None | 2 | 9 | 1 | thermal | 1 | 6 | -0.53 | -0.193 | -0.003 | 0 | 0 | 0.06 | 0 | 50 | 125 | 0 | Normal 🟢 | 0 | N/A | 0.51 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.518 | 2 | 2.988 | 97.73 | 23.11 | 94.66 | 29.14 | 21.69 | 21.68 | 0.117 | 0 | 42 | 83.36 | 18.96 | 18.77 | 5.65 | None | 2 | 8 | 1 | thermal | 1 | 6 | 0.18 | 0.124 | -0.003 | 0 | 0 | -1.34 | 0 | 51 | 126 | 0 | Normal 🟢 | 0 | N/A | 0.53 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.465 | 2 | 2.91 | 96.97 | 21.85 | 96.23 | 29.23 | 22.5 | 21.86 | 0.12 | 0 | 44 | 84.02 | 18.01 | 18.78 | 5.17 | None | 2 | 8 | 2 | thermal | 1 | 6 | 0.36 | -0.241 | 0 | 0 | 0 | 0.23 | 0 | 52 | 127 | 0 | Normal 🟢 | 0 | N/A | 0.55 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.457 | 2 | 3.009 | 96.62 | 23 | 97.53 | 28.37 | 21.62 | 21.02 | 0.12 | 0 | 42 | 86.17 | 18.17 | 18.36 | 5.13 | None | 2 | 8 | 2 | thermal | 1 | 6 | -0.48 | -0.297 | 0 | 0 | 0 | 1.53 | 0 | 53 | 128 | 0 | Normal 🟢 | 0 | N/A | 0.57 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.502 | 2 | 2.951 | 96.36 | 21.92 | 94.41 | 28.72 | 21.64 | 21.29 | 0.121 | 0 | 45 | 86.83 | 18.02 | 18.31 | 5.38 | None | 2 | 7 | 2 | thermal | 1 | 6 | -0.21 | 0.014 | 0.001 | 0 | 0 | -1.59 | 0 | 54 | 129 | 0 | Normal 🟢 | 0 | N/A | 0.59 | None | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.471 | 3 | 2.944 | 95.53 | 22.53 | 95.54 | 28.37 | 21.96 | 21.95 | 0.122 | 0 | 43 | 85.88 | 19.11 | 18.2 | 5.57 | None | 2 | 8 | 2 | thermal | 1 | 6 | 0.45 | -0.2 | 0.002 | 0 | 0 | -0.46 | 0 | 55 | 130 | 1 | Monitor 🟡 | 0 | N/A | 0.61 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.33 | 3 | 2.955 | 100.28 | 22.66 | 95.11 | 29.12 | 22.07 | 21.56 | 0.118 | 0 | 38 | 87.55 | 19.02 | 18.85 | 5.18 | None | 2 | 7 | 2 | thermal | 1 | 6 | 0.06 | -1.172 | -0.002 | 0 | 0 | -0.89 | 0 | 56 | 131 | 1 | Monitor 🟡 | 0 | N/A | 0.63 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.281 | 3 | 3.087 | 96.32 | 23.25 | 94.53 | 28.42 | 21.9 | 21.16 | 0.119 | 0 | 45 | 87.53 | 18.77 | 18.66 | 5.75 | None | 2 | 7 | 2 | thermal | 1 | 6 | -0.34 | -1.51 | -0.001 | 0 | 0 | -1.47 | 0 | 57 | 132 | 1 | Monitor 🟡 | 0 | N/A | 0.65 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.218 | 3 | 3.001 | 99.67 | 22.51 | 96.21 | 29.29 | 21.45 | 21.24 | 0.121 | 0 | 39 | 85.48 | 18.98 | 18.3 | 5.78 | None | 2 | 8 | 2 | thermal | 1 | 6 | -0.26 | -1.945 | 0.001 | 0 | 0 | 0.21 | 0 | 58 | 133 | 1 | Monitor 🟡 | 0 | N/A | 0.67 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.147 | 3 | 3.078 | 95.77 | 23.4 | 94.04 | 28.05 | 21.86 | 22.01 | 0.12 | 0 | 43 | 83.98 | 18.64 | 18.69 | 5.82 | None | 2 | 8 | 3 | thermal | 1 | 6 | 0.51 | -2.434 | 0 | 0 | 0 | -1.96 | 0 | 59 | 134 | 1 | Monitor 🟡 | 0 | N/A | 0.69 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.115 | 3 | 3.069 | 99.62 | 23.04 | 92.58 | 27.91 | 22.44 | 21.67 | 0.123 | 0 | 43 | 85.57 | 19.47 | 18.61 | 5.86 | None | 2 | 7 | 3 | thermal | 1 | 6 | 0.17 | -2.655 | 0.003 | 0 | 0 | -3.42 | 0 | 60 | 135 | 1 | Monitor 🟡 | 0 | N/A | 0.72 | gradient_coil_fault | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 14.009 | 3 | 3.01 | 95.97 | 23.49 | 91.84 | 28.87 | 21.61 | 21.55 | 0.117 | 0 | 43 | 83.8 | 18.98 | 18.8 | 5.24 | None | 2 | 9 | 3 | cryogen | 1 | 6 | 0.05 | -3.386 | -0.003 | 0 | 0 | -4.16 | 0 | 61 | 136 | 1 | Monitor 🟡 | 0 | N/A | 0.74 | gradient_coil_fault | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.898 | 3 | 3.043 | 97.5 | 23.36 | 95.12 | 27.66 | 21.44 | 22.32 | 0.118 | 0 | 45 | 87.06 | 19.11 | 18.75 | 5.44 | None | 2 | 7 | 3 | cryogen | 1 | 6 | 0.82 | -4.152 | -0.002 | 0 | 0 | -0.88 | 0 | 62 | 137 | 1 | Monitor 🟡 | 0 | N/A | 0.76 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.828 | 3 | 2.948 | 95.64 | 23.02 | 94.96 | 28.98 | 22.51 | 22.7 | 0.123 | 0 | 41 | 85.61 | 18.73 | 18.82 | 5.23 | None | 2 | 9 | 3 | cryogen | 1 | 6 | 1.2 | -4.634 | 0.003 | 0 | 0 | -1.04 | 0 | 63 | 138 | 1 | Monitor 🟡 | 0 | N/A | 0.78 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.813 | 3 | 3.054 | 99.12 | 24.14 | 94.32 | 28.1 | 22.38 | 22.07 | 0.123 | 0 | 38 | 86.9 | 19.61 | 18.3 | 5.27 | None | 2 | 7 | 3 | cryogen | 1 | 6 | 0.57 | -4.738 | 0.003 | 0 | 0 | -1.68 | 0 | 64 | 139 | 1 | Monitor 🟡 | 0 | N/A | 0.8 | thermal_overload | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | N/A | 0 | 0 | N/A | Monitoring
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.732 | 3 | 3.066 | 99.61 | 23.5 | 90.05 | 28.74 | 21.87 | 21.97 | 0.134 | 0 | 46 | 85.19 | 19.78 | 18.21 | 5.15 | None | 3 | 12 | 3 | cryogen | 1 | 9 | 0.47 | -5.297 | 0.014 | 1 | 0 | -5.95 | 0 | 65 | 140 | 2 | Schedule Maintenance 🔴 | 1 | 10 | 0.82 | cryogen_leak | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | 2024-11-21 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.607 | 3 | 3.019 | 96.87 | 23.77 | 92.04 | 28.63 | 21.68 | 22.77 | 0.148 | 0 | 43 | 82.46 | 19.83 | 18.53 | 5.34 | E445 | 5 | 20 | 4 | cryogen | 2 | 15 | 1.27 | -6.159 | 0.028 | 3 | 0 | -3.96 | 0 | 66 | 141 | 2 | Schedule Maintenance 🔴 | 1 | 9 | 0.84 | cryogen_leak | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | 2024-11-22 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.544 | 3 | 3.063 | 97.97 | 23.77 | 93.01 | 28.17 | 21.88 | 22.31 | 0.163 | 0 | 41 | 83.96 | 18.98 | 18.44 | 5.17 | E445 | 7 | 28 | 4 | cryogen | 3 | 20 | 0.81 | -6.593 | 0.043 | 5 | 0 | -2.99 | 0 | 67 | 142 | 2 | Schedule Maintenance 🔴 | 1 | 8 | 0.86 | cryogen_leak | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | 2024-11-23 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.497 | 3 | 2.987 | 97.06 | 24.4 | 92.06 | 28.44 | 21.92 | 21.94 | 0.178 | 0 | 39 | 84.86 | 19.95 | 18.72 | 5.74 | E445 | 9 | 37 | 4 | cryogen | 4 | 20 | 0.44 | -6.917 | 0.058 | 7 | 0 | -3.94 | 0 | 68 | 143 | 2 | Schedule Maintenance 🔴 | 1 | 7 | 0.88 | cryogen_leak | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | 2024-11-24 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.426 | 3 | 2.95 | 94.76 | 23.61 | 93.25 | 28.06 | 21.97 | 23.04 | 0.197 | 1 | 44 | 82.82 | 19.45 | 18.6 | 5.73 | E445 | 11 | 45 | 4 | cryogen | 5 | 20 | 1.54 | -7.407 | 0.077 | 9 | 0 | -2.75 | 0 | 69 | 144 | 2 | Schedule Maintenance 🔴 | 1 | 6 | 0.9 | cryogen_leak | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | 2024-11-25 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.314 | 3 | 2.929 | 95.97 | 23.95 | 88.49 | 29.28 | 22.02 | 23.12 | 0.213 | 1 | 38 | 83.72 | 20.03 | 18.47 | 5.28 | E456 | 12 | 50 | 4 | cryogen | 5 | 20 | 1.62 | -8.179 | 0.093 | 10 | 0 | -7.51 | 0 | 70 | 145 | 2 | Schedule Maintenance 🔴 | 1 | 5 | 0.93 | cryogen_leak | 0 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000 | 42 | 10 | 2024-11-26 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.277 | 3 | 3.001 | 98.21 | 24.61 | 93.03 | 29.18 | 22.32 | 23.02 | 0.228 | 1 | 41 | 83.77 | 19.39 | 18.6 | 5.3 | E456 | 14 | 59 | 4 | cryogen | 5 | 20 | 1.52 | -8.434 | 0.108 | 12 | 0 | -2.97 | 0 | 71 | 146 | 3 | Critical ⚫ | 1 | 4 | 0.95 | cryogen_leak | 1 | 150000 | 1200000 | 800000 | 7 | 6800000 | 6650000 | 98 | 23 | 2024-11-27 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.172 | 3 | 3.007 | 94.11 | 24.26 | 89.44 | 28.83 | 22.27 | 22.63 | 0.237 | 1 | 38 | 84.53 | 19.81 | 18.44 | 5.72 | E456 | 16 | 66 | 4 | cryogen | 5 | 20 | 1.13 | -9.159 | 0.117 | 14 | 0 | -6.56 | 0 | 72 | 147 | 3 | Critical ⚫ | 1 | 3 | 0.97 | cryogen_leak | 1 | 150000 | 1200000 | 800000 | 7 | 6800000 | 6650000 | 98 | 23 | 2024-11-28 08:00 | 1 | 0 | N/A | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.131 | 3 | 2.911 | 95.25 | 25.16 | 92.23 | 29.1 | 22.6 | 23.39 | 0.253 | 1 | 41 | 86.26 | 19.89 | 18.58 | 5.71 | E456 | 18 | 75 | 5 | cryogen | 5 | 20 | 1.89 | -9.441 | 0.133 | 16 | 0 | -3.77 | 0 | 73 | 148 | 3 | Critical ⚫ | 1 | 2 | 0.99 | cryogen_leak | 1 | 150000 | 1200000 | 800000 | 7 | 6800000 | 6650000 | 98 | 23 | 2024-11-29 08:00 | 1 | 1 | 2024-11-29 | Vendor contacted
MRI_01 | MRI | 7 | Siemens | MAGNETOM Vida 3T | 2017-04-15 | 13.003 | 3 | 2.994 | 93.86 | 25.08 | 90.97 | 27.69 | 21.86 | 22.97 | 0.265 | 1 | 42 | 82.59 | 20.07 | 18.23 | 5.53 | E456 | 20 | 83 | 5 | cryogen | 5 | 20 | 1.47 | -10.324 | 0.145 | 18 | 0 | -5.03 | 0 | 74 | 149 | 3 | Critical ⚫ | 1 | 1 | 0.99 | cryogen_leak | 1 | 150000 | 1200000 | 800000 | 7 | 6800000 | 6650000 | 98 | 23 | 2024-11-30 08:00 | 1 | 1 | 2024-11-29 | Vendor contacted

## CT_01 Telemetry
EQUIPMENT IDENTITY | [5 empty] | CT SENSORS |  |  |  |  | COMMON SENSORS | [8 empty] | ERROR LOGS | [6 empty] | DEVIATIONS | [8 empty] | TARGET LABELS | [6 empty] | COST IMPACT | [7 empty] | AUDIT TRAIL
machine_id | machine_type | machine_age_years | manufacturer | model_number | installation_date | xray_tube_current_ma | xray_tube_voltage_kv | tube_heat_unit_percent | detector_calibration_drift_score | rotation_speed_rpm | ambient_temp_celsius | internal_temp_celsius | vibration_amplitude_mm_s | vibration_anomaly_flag | scan_volume_per_day | power_consumption_kwh | cooling_system_temp_celsius | uptime_hours_per_day | idle_hours_per_day | error_code | error_code_freq_7d | error_code_freq_30d | error_severity_level | error_category | warning_flag_count_24h | fault_log_entry_count_7d | temp_deviation_from_baseline | tube_heat_deviation_from_baseline | vibration_deviation_from_baseline | error_rate_deviation_from_baseline | scan_volume_deviation_from_baseline | detector_drift_deviation | power_consumption_deviation | days_since_last_maintenance | days_since_last_calibration | risk_tier | risk_label | predicted_failure_within_14d | predicted_days_to_failure | confidence_score | predicted_failure_type | failure_imminent | preventive_maintenance_cost_inr | emergency_repair_cost_inr | lost_revenue_per_day_inr | estimated_downtime_days | projected_breakdown_total_cost_inr | cost_saving_if_preventive_inr | patients_impacted_count | appointments_to_reschedule | alert_timestamp | alert_acknowledged | actual_failure_occurred | actual_failure_date | action_taken
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 344.8 | 116.99 | 44.53 | 0.813 | 61.2 | 21.85 | 22.83 | 0.102 | 0 | 55 | 113.3 | 18.83 | 19.62 | 4.28 | None | 1 | 2 | 1 | electrical | 0 | 3 | -0.17 | -0.47 | 0.002 | 0 | 0 | 0.013 | 0 | 30 | 90 | 0 | Normal 🟢 | 0 | N/A | 0.35 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 351.34 | 117.97 | 44.19 | 0.777 | 60.61 | 22.77 | 22.52 | 0.098 | 0 | 57 | 107.81 | 19.12 | 19.69 | 4.8 | None | 1 | 5 | 1 | electrical | 0 | 3 | -0.48 | -0.81 | -0.002 | 0 | 0 | -0.023 | 0 | 31 | 91 | 0 | Normal 🟢 | 0 | N/A | 0.37 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 354.51 | 116.95 | 43.72 | 0.791 | 59.63 | 22.76 | 23.25 | 0.103 | 0 | 56 | 107.37 | 19.31 | 19.77 | 4.42 | None | 1 | 2 | 1 | electrical | 0 | 3 | 0.25 | -1.28 | 0.003 | 0 | 0 | -0.009 | 0 | 32 | 92 | 0 | Normal 🟢 | 0 | N/A | 0.39 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 357.34 | 122.32 | 44.59 | 0.797 | 59.43 | 21.97 | 22.82 | 0.1 | 0 | 60 | 110.89 | 19.38 | 19.66 | 4.55 | None | 1 | 5 | 1 | electrical | 0 | 3 | -0.18 | -0.41 | 0 | 0 | 0 | -0.003 | 0 | 33 | 93 | 0 | Normal 🟢 | 0 | N/A | 0.41 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 345.14 | 122.53 | 45.83 | 0.802 | 60.83 | 22.95 | 22.98 | 0.1 | 0 | 50 | 112.52 | 18.71 | 19.47 | 4.41 | None | 1 | 3 | 1 | electrical | 0 | 3 | -0.02 | 0.83 | 0 | 0 | 0 | 0.002 | 0 | 34 | 94 | 0 | Normal 🟢 | 0 | N/A | 0.43 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 354.23 | 118.39 | 44.14 | 0.786 | 61.37 | 21.84 | 23.41 | 0.099 | 0 | 59 | 107.27 | 19.25 | 19.49 | 4.3 | None | 1 | 5 | 1 | electrical | 0 | 3 | 0.41 | -0.86 | -0.001 | 0 | 0 | -0.014 | 0 | 35 | 95 | 0 | Normal 🟢 | 0 | N/A | 0.44 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 351.71 | 119.81 | 45.79 | 0.78 | 59.3 | 22.54 | 22.62 | 0.101 | 0 | 54 | 111.62 | 18.81 | 19.66 | 4.68 | None | 1 | 3 | 2 | electrical | 0 | 3 | -0.38 | 0.79 | 0.001 | 0 | 0 | -0.02 | 0 | 36 | 96 | 0 | Normal 🟢 | 0 | N/A | 0.46 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 349.67 | 121.62 | 43.97 | 0.802 | 58.98 | 23.14 | 23.36 | 0.098 | 0 | 55 | 108.57 | 18.55 | 19.26 | 4.71 | None | 1 | 2 | 2 | electrical | 0 | 3 | 0.36 | -1.03 | -0.002 | 0 | 0 | 0.002 | 0 | 37 | 97 | 0 | Normal 🟢 | 0 | N/A | 0.48 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 357.74 | 119.93 | 44.39 | 0.823 | 58.66 | 23 | 23.07 | 0.101 | 0 | 55 | 109.8 | 18.93 | 19.25 | 4.85 | None | 1 | 4 | 2 | electrical | 0 | 3 | 0.07 | -0.61 | 0.001 | 0 | 0 | 0.023 | 0 | 38 | 98 | 0 | Normal 🟢 | 0 | N/A | 0.5 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 351.32 | 118.59 | 44.73 | 0.78 | 58.74 | 23.17 | 23.18 | 0.097 | 0 | 50 | 111.75 | 19.12 | 19.73 | 4.71 | None | 1 | 5 | 2 | electrical | 0 | 3 | 0.18 | -0.27 | -0.003 | 0 | 0 | -0.02 | 0 | 39 | 99 | 0 | Normal 🟢 | 0 | N/A | 0.52 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 355.04 | 123.22 | 46.89 | 0.824 | 60.4 | 22.11 | 22.73 | 0.101 | 0 | 51 | 111.06 | 18.61 | 19.25 | 4.83 | None | 1 | 3 | 2 | electrical | 0 | 3 | -0.27 | 1.89 | 0.001 | 0 | 0 | 0.024 | 0 | 40 | 100 | 0 | Normal 🟢 | 0 | N/A | 0.54 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 353.94 | 123.05 | 46.21 | 0.787 | 59.84 | 22.89 | 23.29 | 0.101 | 0 | 56 | 111.06 | 19.49 | 19.44 | 4.46 | None | 1 | 4 | 2 | electrical | 0 | 3 | 0.29 | 1.21 | 0.001 | 0 | 0 | -0.013 | 0 | 41 | 101 | 0 | Normal 🟢 | 0 | N/A | 0.56 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 345.56 | 117.3 | 46.47 | 0.784 | 60.25 | 22.75 | 22.73 | 0.101 | 0 | 57 | 112.92 | 19 | 19.5 | 4.83 | None | 1 | 5 | 3 | electrical | 0 | 3 | -0.27 | 1.47 | 0.001 | 0 | 0 | -0.016 | 0 | 42 | 102 | 0 | Normal 🟢 | 0 | N/A | 0.58 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 359.47 | 123.6 | 47.87 | 0.78 | 60.27 | 22.73 | 23.64 | 0.102 | 0 | 52 | 106.97 | 19.29 | 19.48 | 4.38 | None | 1 | 3 | 3 | electrical | 0 | 3 | 0.64 | 2.87 | 0.002 | 0 | 0 | -0.02 | 0 | 43 | 103 | 0 | Normal 🟢 | 0 | N/A | 0.6 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 353.57 | 122.58 | 49.9 | 0.8 | 59.4 | 22.27 | 22.44 | 0.099 | 0 | 57 | 108.6 | 19.51 | 19.75 | 4.46 | None | 1 | 4 | 3 | electrical | 0 | 3 | -0.56 | 4.9 | -0.001 | 0 | 0 | 0 | 0 | 44 | 104 | 0 | Normal 🟢 | 0 | N/A | 0.62 | None | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 350.89 | 119.38 | 51.82 | 0.945 | 60.57 | 22.08 | 23.12 | 0.103 | 0 | 53 | 111.69 | 19.2 | 19.7 | 4.73 | None | 2 | 7 | 3 | electrical | 1 | 6 | 0.12 | 6.82 | 0.003 | 1 | 0 | 0.145 | 0 | 45 | 105 | 1 | Monitor 🟡 | 0 | N/A | 0.64 | mechanical_vibration | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 342.83 | 120.37 | 51.91 | 1.075 | 59.06 | 22.57 | 23.86 | 0.101 | 0 | 50 | 113.25 | 19.59 | 19.47 | 4.8 | E540 | 3 | 11 | 3 | electrical | 1 | 9 | 0.86 | 6.91 | 0.001 | 2 | 0 | 0.275 | 0 | 46 | 106 | 1 | Monitor 🟡 | 0 | N/A | 0.65 | mechanical_vibration | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 351.08 | 119.16 | 52.23 | 1.233 | 59.08 | 23.07 | 23.77 | 0.103 | 0 | 55 | 112.5 | 19.6 | 19.32 | 4.27 | E540 | 5 | 20 | 3 | electrical | 2 | 15 | 0.77 | 7.23 | 0.003 | 4 | 0 | 0.433 | 0 | 47 | 107 | 1 | Monitor 🟡 | 0 | N/A | 0.67 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 349.78 | 117.47 | 54.12 | 1.382 | 61.8 | 22.55 | 23.12 | 0.101 | 0 | 53 | 110.34 | 19.29 | 19.46 | 4.64 | E540 | 7 | 28 | 4 | electrical | 3 | 21 | 0.12 | 9.12 | 0.001 | 6 | 0 | 0.582 | 0 | 48 | 108 | 1 | Monitor 🟡 | 0 | N/A | 0.69 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 356.54 | 119.18 | 53.14 | 1.576 | 60.74 | 22.72 | 22.86 | 0.101 | 0 | 58 | 113.17 | 19.3 | 19.14 | 4.5 | E540 | 10 | 40 | 4 | mechanical | 5 | 25 | -0.14 | 8.14 | 0.001 | 9 | 0 | 0.776 | 0 | 49 | 109 | 1 | Monitor 🟡 | 0 | N/A | 0.71 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 353.25 | 117.51 | 54.7 | 1.703 | 59.63 | 22.46 | 23.54 | 0.113 | 0 | 60 | 108.94 | 19.58 | 19.62 | 4.23 | E547 | 13 | 53 | 4 | mechanical | 6 | 25 | 0.54 | 9.7 | 0.013 | 12 | 0 | 0.903 | 0 | 50 | 110 | 1 | Monitor 🟡 | 0 | N/A | 0.73 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 340.94 | 120.94 | 55.19 | 1.874 | 58.23 | 23.07 | 24.07 | 0.127 | 0 | 60 | 111.63 | 19.34 | 19.19 | 4.4 | E547 | 16 | 63 | 4 | mechanical | 6 | 25 | 1.07 | 10.19 | 0.027 | 15 | 0 | 1.074 | 0 | 51 | 111 | 1 | Monitor 🟡 | 0 | N/A | 0.75 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | N/A | 0 | 0 | N/A | Monitoring
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 342.56 | 120.22 | 58.07 | 1.946 | 59.4 | 22.59 | 24.22 | 0.134 | 0 | 58 | 107.82 | 18.99 | 19.79 | 4.41 | E547 | 19 | 76 | 4 | mechanical | 6 | 25 | 1.22 | 13.07 | 0.034 | 18 | 0 | 1.146 | 0 | 52 | 112 | 2 | Schedule Maintenance 🔴 | 1 | 8 | 0.77 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | 2024-11-23 09:00 | 1 | 0 | N/A | Vendor notified
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 358.43 | 121.28 | 57.47 | 2.118 | 60.89 | 22.04 | 23.55 | 0.144 | 0 | 54 | 108.98 | 19.64 | 19.61 | 4.56 | E547 | 22 | 86 | 4 | mechanical | 6 | 25 | 0.55 | 12.47 | 0.044 | 21 | 0 | 1.318 | 0 | 53 | 113 | 2 | Schedule Maintenance 🔴 | 1 | 7 | 0.79 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | 2024-11-24 09:00 | 1 | 0 | N/A | Vendor notified
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 360.35 | 118.53 | 58.09 | 2.298 | 60.02 | 23.14 | 23.62 | 0.161 | 1 | 56 | 108.51 | 19.68 | 19.64 | 4.31 | E554 | 26 | 102 | 5 | mechanical | 6 | 25 | 0.62 | 13.09 | 0.061 | 25 | 0 | 1.498 | 0 | 54 | 114 | 2 | Schedule Maintenance 🔴 | 1 | 6 | 0.81 | calibration_drift | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | 2024-11-25 09:00 | 1 | 0 | N/A | Vendor notified
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 352.87 | 120.87 | 60.84 | 2.419 | 59.17 | 22.74 | 24.53 | 0.173 | 1 | 57 | 111.05 | 20.06 | 19.6 | 4.18 | E554 | 29 | 115 | 5 | mechanical | 6 | 25 | 1.53 | 15.84 | 0.073 | 28 | 0 | 1.619 | 0 | 55 | 115 | 2 | Schedule Maintenance 🔴 | 1 | 5 | 0.82 | tube_burnout | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | 2024-11-26 09:00 | 1 | 0 | N/A | Vendor notified
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 343.19 | 117.35 | 60.59 | 2.636 | 60.54 | 22.55 | 23.61 | 0.182 | 1 | 60 | 110.2 | 20.21 | 19.76 | 4.69 | E554 | 33 | 131 | 5 | mechanical | 6 | 25 | 0.61 | 15.59 | 0.082 | 32 | 0 | 1.836 | 0 | 56 | 116 | 2 | Schedule Maintenance 🔴 | 1 | 4 | 0.84 | tube_burnout | 0 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000 | 55 | 10 | 2024-11-27 09:00 | 1 | 0 | N/A | Vendor notified
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 359.8 | 122.59 | 62.1 | 2.723 | 58.31 | 22.8 | 23.74 | 0.201 | 1 | 60 | 113.08 | 20.14 | 19.39 | 4.27 | E554 | 37 | 149 | 5 | mechanical | 6 | 25 | 0.74 | 17.1 | 0.101 | 36 | 0 | 1.923 | 0 | 57 | 117 | 3 | Critical ⚫ | 1 | 3 | 0.86 | tube_burnout | 1 | 120000 | 900000 | 600000 | 5 | 3900000 | 3780000 | 137 | 25 | 2024-11-28 09:00 | 1 | 0 | N/A | Vendor notified
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 341.77 | 118.08 | 62.74 | 2.93 | 61.12 | 21.86 | 24.52 | 0.212 | 1 | 59 | 110.41 | 20.33 | 19.28 | 4.84 | E561 | 41 | 163 | 5 | mechanical | 6 | 25 | 1.52 | 17.74 | 0.112 | 40 | 0 | 2.13 | 0 | 58 | 118 | 3 | Critical ⚫ | 1 | 2 | 0.88 | tube_burnout | 1 | 120000 | 900000 | 600000 | 5 | 3900000 | 3780000 | 137 | 25 | 2024-11-29 09:00 | 1 | 1 | 2024-11-29 | Vendor notified
CT_01 | CT | 5 | GE Healthcare | Revolution CT | 2019-08-20 | 341.54 | 122.79 | 62.65 | 2.984 | 59.47 | 22.01 | 25.16 | 0.217 | 1 | 54 | 111.12 | 20.19 | 19.85 | 4.56 | E561 | 45 | 179 | 5 | mechanical | 6 | 25 | 2.16 | 17.65 | 0.117 | 44 | 0 | 2.184 | 0 | 59 | 119 | 3 | Critical ⚫ | 1 | 1 | 0.9 | tube_burnout | 1 | 120000 | 900000 | 600000 | 5 | 3900000 | 3780000 | 137 | 25 | 2024-11-30 09:00 | 1 | 1 | 2024-11-29 | Vendor notified

## Baseline Ranges
BASELINE OPERATING RANGES — NORMAL THRESHOLDS
Parameter | Machine Type | Unit | Min Normal | Max Normal | Critical Low | Critical High
helium_pressure_psi | MRI | PSI | 14 | 15 | 12 | 16
cryogen_level_percent | MRI | % | 95 | 100 | 85 | 100
gradient_coil_temp_celsius | MRI | °C | 20 | 25 | 18 | 30
gradient_coil_performance_score | MRI | Score | 90 | 100 | 80 | 100
rf_coil_snr_db | MRI | dB | 25 | 35 | 20 | 40
magnetic_field_strength_tesla | MRI | T | 2.95 | 3.05 | 2.9 | 3.1
xray_tube_current_ma | CT | mA | 300 | 400 | 250 | 450
xray_tube_voltage_kv | CT | kV | 110 | 130 | 100 | 140
tube_heat_unit_percent | CT | % | 30 | 60 | 20 | 80
detector_calibration_drift_score | CT | Score | 0.5 | 1 | 0.2 | 1.5
rotation_speed_rpm | CT | RPM | 58 | 62 | 55 | 65
internal_temp_celsius | Both | °C | 19 | 24 | 15 | 30
ambient_temp_celsius | Both | °C | 20 | 23 | 18 | 26
vibration_amplitude_mm_s | Both | mm/s | 0.05 | 0.18 | 0.01 | 0.3
power_consumption_kwh | MRI | kWh | 80 | 90 | 70 | 100
power_consumption_kwh | CT | kWh | 100 | 120 | 90 | 135
cooling_system_temp_celsius | Both | °C | 17 | 20 | 15 | 25
error_code_freq_7d | Both | Count | 0 | 3 | 0 | 10
scan_volume_per_day | MRI | Scans | 35 | 50 | 20 | 60
scan_volume_per_day | CT | Scans | 45 | 65 | 25 | 75

## Vendor Directory
EQUIPMENT SERVICE VENDOR DIRECTORY
vendor_id | vendor_name | specialization | contact_person | phone | email | response_time_hours | hourly_rate_inr | available_slots | service_rating
VND_001 | Siemens Healthineers Service | MRI Systems | Rajesh Kumar | +91-9876543210 | rajesh.kumar@siemens.com | 4 | 8500 | Mon-Fri 6AM-10PM; Sat 8AM-4PM | 4.8
VND_002 | GE Healthcare Biomedical | CT / X-Ray Systems | Priya Nair | +91-9845671234 | priya.nair@ge.com | 6 | 7200 | Mon-Sat 7AM-9PM | 4.6
VND_003 | MedTech Solutions India | MRI + CT General | Arun Sharma | +91-9900112233 | arun@medtechsolutions.in | 12 | 5500 | Mon-Fri 9AM-6PM | 4.1

## Scan Schedule
BOOKED PATIENT SCAN SCHEDULE — NEXT 7 DAYS
appointment_id | machine_id | scan_type | patient_id | scan_date | scan_time | patient_priority | scan_duration_min | rescheduled | new_appointment_slot | rescheduling_reason | rescheduling_cost_inr
APT_MRI_001 | MRI_01 | MRI | PAT_22978 | 2024-12-01 | 08:00 | routine | 45 | 0 | N/A | N/A | 0
APT_MRI_002 | MRI_01 | MRI | PAT_90694 | 2024-12-02 | 09:30 | urgent | 45 | 0 | N/A | N/A | 0
APT_MRI_003 | MRI_01 | MRI | PAT_46666 | 2024-12-03 | 10:00 | routine | 45 | 0 | N/A | N/A | 0
APT_MRI_004 | MRI_01 | MRI | PAT_58566 | 2024-12-04 | 11:30 | routine | 45 | 0 | N/A | N/A | 0
APT_MRI_005 | MRI_01 | MRI | PAT_68287 | 2024-12-05 | 12:00 | routine | 45 | 0 | N/A | N/A | 0
APT_MRI_006 | MRI_01 | MRI | PAT_57537 | 2024-12-06 | 13:30 | emergency | 45 | 0 | N/A | N/A | 0
APT_MRI_007 | MRI_01 | MRI | PAT_99873 | 2024-12-07 | 14:00 | routine | 45 | 0 | N/A | N/A | 0
APT_MRI_008 | MRI_01 | MRI | PAT_94518 | 2024-12-01 | 15:30 | routine | 45 | 1 | 2024-12-04 10:00 | Maintenance overlap | 2500
APT_MRI_009 | MRI_01 | MRI | PAT_62184 | 2024-12-02 | 16:00 | routine | 45 | 1 | 2024-12-05 10:00 | Maintenance overlap | 2500
APT_MRI_010 | MRI_01 | MRI | PAT_26011 | 2024-12-03 | 17:30 | routine | 45 | 1 | 2024-12-06 10:00 | Maintenance overlap | 2500
APT_CT_001 | CT_01 | CT | PAT_69600 | 2024-12-01 | 08:00 | emergency | 20 | 0 | N/A | N/A | 0
APT_CT_002 | CT_01 | CT | PAT_37801 | 2024-12-02 | 09:30 | routine | 20 | 0 | N/A | N/A | 0
APT_CT_003 | CT_01 | CT | PAT_88269 | 2024-12-03 | 10:00 | urgent | 20 | 0 | N/A | N/A | 0
APT_CT_004 | CT_01 | CT | PAT_16629 | 2024-12-04 | 11:30 | emergency | 20 | 0 | N/A | N/A | 0
APT_CT_005 | CT_01 | CT | PAT_41925 | 2024-12-05 | 12:00 | urgent | 20 | 0 | N/A | N/A | 0
APT_CT_006 | CT_01 | CT | PAT_84000 | 2024-12-06 | 13:30 | emergency | 20 | 0 | N/A | N/A | 0
APT_CT_007 | CT_01 | CT | PAT_82641 | 2024-12-07 | 14:00 | routine | 20 | 0 | N/A | N/A | 0
APT_CT_008 | CT_01 | CT | PAT_38305 | 2024-12-01 | 15:30 | routine | 20 | 1 | 2024-12-04 10:00 | Maintenance overlap | 2500
APT_CT_009 | CT_01 | CT | PAT_40539 | 2024-12-02 | 16:00 | urgent | 20 | 1 | 2024-12-05 10:00 | Maintenance overlap | 2500
APT_CT_010 | CT_01 | CT | PAT_29340 | 2024-12-03 | 17:30 | routine | 20 | 1 | 2024-12-06 10:00 | Maintenance overlap | 2500

## Cost Impact Summary
COST IMPACT CALCULATOR — PREVENTIVE vs BREAKDOWN (INR)
machine_id | risk_tier | preventive_cost_inr | emergency_repair_cost_inr | lost_revenue_per_day_inr | downtime_days | total_breakdown_cost_inr | net_saving_inr
MRI_01 | Monitor 🟡 | 150000 | 800000 | 800000 | 1 | 1600000 | 1450000
MRI_01 | Schedule 🔴 | 150000 | 1200000 | 800000 | 3 | 3600000 | 3450000
MRI_01 | Critical ⚫ | 150000 | 1500000 | 800000 | 7 | 7100000 | 6950000
CT_01 | Monitor 🟡 | 120000 | 600000 | 600000 | 1 | 1200000 | 1080000
CT_01 | Schedule 🔴 | 120000 | 900000 | 600000 | 2 | 2100000 | 1980000
CT_01 | Critical ⚫ | 120000 | 1200000 | 600000 | 5 | 4200000 | 4080000
TOTAL

## Legend & Notes
DATASET LEGEND — GKM_11 Predictive Maintenance
Category | Description
Risk Tier 0 | Normal 🟢 — all sensors within baseline range
Risk Tier 1 | Monitor 🟡 — anomaly detected, not urgent (watch closely)
Risk Tier 2 | Schedule Maintenance 🔴 — predicted failure within 14 days
Risk Tier 3 | Critical ⚫ — failure imminent, suspend equipment use immediately
Pattern 1 (MRI) | Helium pressure drops 0.5% per day starting Day 10 of 30-day window
Pattern 2 (CT) | Error code frequency ramps sharply from Day 15 (exponential growth)
Cost Units | All costs in Indian Rupees (INR). ₹1 lakh = ₹100,000
Baseline Window | 30-day rolling baseline; deviations computed per parameter per machine
Confidence Score | 0.0–1.0 float — model certainty of predicted failure type and timing
Ground Truth Label | actual_failure_occurred used for model retraining feedback loop
Machine 1 | MRI_01 = Siemens MAGNETOM Vida 3T ¦ Age: 7 years
Machine 2 | CT_01 = GE Revolution CT ¦ Age: 5 years
MRI Failure Types | cryogen_leak, gradient_coil_fault, thermal_overload
CT Failure Types | tube_burnout, calibration_drift, mechanical_vibration
Degradation Embedded | Two realistic sensor degradation curves pre-embedded in data